# 1. Title: Bioengineered bone marrows that can support stem cells and remodel to mimic human disease metabolism and chemotherapeutic effects.

# 2. Authors: Yinbo Xiao1,2, Savvas Ioannou1, Monica P Tsimbouri1, Xiang Li3, Oana Dobre4, Sara Trujillo4,5, Mark Sprott1, Mariana AG Oliva4, Vineetha Jayawarna4, Massimo Vassalli4, Ewan Ross6, Mhairi Copland7, Peter S Young8, RM Dominic Meek9, Manuel Salmeron-Sanchez4, Hannah Donnelly1*, Matthew J Dalby1*

# 3. Funder information: This work was supported by a CSC scholarship [201908060063], Wellcome ISSF [204820/Z/16/Z] and National Natural Science Foundation of China [82300266] to X.Y, BBSRC and EPSRC funded grants BB/N018419/1 and EP/P001114/1 to M.D and M.S-S.

# 4. Dataset and readme information

Materials and Methods

See supplementary table I and II for reagent and antibody information.

Preparation of materials and ECM interfaces

Plasma equipment was set up as per previous work (28, 29). Samples (Glass coverslips, Nunc™ Thermanox™ coverslips or Commercial Corning® 96-well tissue culture plates (TCP)) were placed in the plasma chamber vertically to plasma flow. Then, samples were exposed to air plasma for 5 minutes at 50W of radio frequency (RF) incident power, followed by PEA polymerisation for 15 minutes at 50W of RF incident power. Samples were sterilised under ultraviolet (UV) light for 30 minutes before use.

For ECM protein coating, PBS solution containing human FN (20 μg/mL), murine LM (20 μg/mL), or the mixture of human FN (10 μg/mL) and murine LM (10 μg/mL), were coated onto pPEA modified samples for 1 hour, termed as FN, LM and FN+LM respectively. For GF adsorption, BMP2, NGF, and CXCL12 were added into PBS alone or in combination (final concentration 50 ng/mL) and coated onto ECM-coated pPEA substrates for 2 hours, followed by washing with PBS. TCP was used as a control.

XPS analysis

Plasma polymerised samples were sent out to the National EPSRC Users’ Service (NEXUS) (found at: http://www.ncl.ac.uk/nexus/) for X-ray photoelectron spectra (XPS) analysis. A K-alpha XPS system (Thermo Fisher Scientific) equipped with a monochromatic Al K-alpha source was used to analyse each sample three times at a maximum beam size of 400 μm × 800 μm. Parameters were set up as follows: X-ray energy: 1486.68 eV; voltage: 12 kV; current: 3 mA; power: 36 W. Spectra analysis and curve fitting were performed using CasaXPS software.

Atomic force microscopy analysis

After ECM coating onto TCP/pPEA surfaces, samples were washed with PBS three times, and finally with deionised water. Samples were then dried under a stream of nitrogen for AFM imaging. The JPK Nanowizard 4 was used for imaging and the JPK Data Processing software version 5 was used for image analysis. A pyramidal silicon tip (MPP-21 220, Bruker) was utilised for alternating contact mode imaging, with a resonance frequency of 75 kHz and stiffness of 3 N/m.

For the immunogold experiment, samples were fixed with fixation buffer (4% formaldehyde) for 10 minutes at room temperature, followed by incubation with primary antibody for 1 hour at room temperature. After being washed with 0.1% Tween 20/PBS, samples were incubated with gold-particle conjugated secondary antibody for 1 hour at room temperature. After that, the samples were fixed again with the fixation buffer for 20 minutes at room temperature and then washed with MilliQ water. Samples were dried gently with nitrogen gas before AFM imaging.

Availability of functional domains in ECM

After ECM coating onto TCP/pPEA surfaces, samples were blocked with blocking buffer (1% BSA/PBS) for 30 minutes at room temperature, followed by primary antibody incubation for 1 hour at room temperature. After being washed with 0.1% Tween-20/PBS, samples were incubated with HRP-conjugated secondary antibodies for 1 hour. After that, samples were incubated with substrate solution for 20 minutes and the reaction stopped by adding stop solution. Absorbance was read at 450 nm using a plate reader.

ELISA

For quantification of GF absorption onto ECM coated substrates, GF solutions from each substrate were aspirated and collected. GF original solution and GF aspirate were diluted 20X. For the quantification of CXCL12, the supernatant from different samples was collected, followed by concentration via a protein concentrator. The pooled supernatant was added to the sample chamber of the concentrator and centrifuged at 12000 g for 30 minutes at 4°C. The resulting solution was diluted to 100 µL. ELISA was then performed according to the manufacturer’s instructions. Briefly, standards and samples were added to the capture-antibody coated plates and incubated for 2 hours at room temperature. After incubation, the detection antibody was added and incubated for 2 hours at room temperature. Streptavidin-HRP was then added to plates for 20 minutes protected from light, followed by substrate solution for 20 minutes followed by stop solution. The plates were read using a plate reader with an absorptance wavelength at 450 nm and 570 nm. The standard curve was calculated using a four-parameter logistic curve fit. The GF concentration was calculated from the standard curve based on standards of known concentration.

MSC/HSC isolation and culture

Human MSCs and CD34+ cells were isolated from the bone marrow aspirates of patients undergoing joint replacement surgery. This work is covered by the NHS GGC Biorepository ethics for the collection of surplus samples for research, rec 22/WS/020. All samples were anonymised prior delivery to our laboratory in the IMID, University of Glasgow. For isolation of MSCs, the bone marrow samples were passed through the EASYstrainer (Greiner Bio-One #542070, core size 70 µm) and then gently added to 7.5 mL Ficoll-Paque Premium buffer (Sigma, #17-544-02). After centrifuging at 350 g for 45 minutes, the mononuclear cell interface layer was collected. Mononuclear cells were seeded into tissue culture flasks and incubated at 37°C, 5% CO2, in D10; Dulbecco's Modified Eagle Medium (DMEM, Sigma-Aldrich) supplemented with 10% Fetal Bovine Serum (FBS, Sigma-Aldrich), 1% sodium pyruvate (11 mg/mL, Sigma-Aldrich), 1% Gibco non-essential amino acids (NEAA, Thermo Fisher Scientific) and 0.1 mg/mL penicillin/streptomycin (Sigma-Aldrich). After 3-day culture, the non-adherent cells were removed. For experiments, MSCs were seeded at 3000/cm2 (passage 2-4) onto materials in D2 medium (DMEM with 2% FBS, 1% sodium pyruvate, 1% NEAA and 0.1 mg/mL penicillin/streptomycin). The medium was changed twice weekly. Experiments were repeated 3 times with MSCs from 3 patient donors.

For isolation of CD34+ cells, mononuclear cells were resuspended with CD34+ buffer (PBS with 0.5 mM EDTA and 5% human serum albumin (HSA)) and incubated with CD34+ microbeads (Miltenyi Biotec, #130-046-702) for 30 minutes at 4°C. Cell suspensions were transferred to LS Columns (Miltenyl Biotec, #130-042-401) and passed through the magnetic Quadromacs Separation Unit (Miltenyi Biotec, #130-090-976). Magnetically labelled CD34+ cells were then collected, counted and cryopreserved.

THP1 culture

THP1 cell line (Sigma #88081201) was maintained and cultured in R10 media (RPMI 1640 supplied with 2 nM Glutamine, 10% FBS and 0.1 mg/mL penicillin/streptomycin) under a humidified atmosphere of 5% CO2 at 37°C. Cell concentration was maintained at 3X105/mL, media changed twice weekly.

For the AML niche model, 5x103 THP1 cells were seeded in 1:1 mix of D2 media and R2 media (RPMI 1640 supplied with 2 nM Glutamine, 2% FBS and 0.1 mg/mL penicillin/streptomycin). Cells were harvested after 3 days for further analysis.

For the chemotherapy treatment, THP1 only or within niches were treated with Cytarabine (AraC, #PHR1787) at the indicated concentration (1.13 μM) for 3 days, with the presence or absence of P4S inhibitor.

For CFSE staining, THP1 cells were cultured in 1:1 mix of D2 media and R2 media for 16hrs before they were stained with carboxyfluorescein succinimidyl ester (CFSE, #C34570). 15 million of THP1 cells were pelleted by centrifugation at 300g for 5mins and resuspended in PBS containing 1µM of CFSE. Cells were placed in a 37 °C incubator for 10mins, followed by deactivation of the free dye by adding 5X the volume of 1:1 mix of D2 media and R2 media that was originally used for the staining. After 5 minutes, the cells were pelleted at 300g for 5 minutes and then resuspended in the appropriate volumes of D2/R2 media with or without 100 µM P4S. 5x103 THP1 cells were seeded and their proliferation was assessed after 3 days.

HSC culture

CD34+ cells were cultured in Iscove’s Modified Dulbecco Medium (IMDM) containing 20% Bovine serum albumin (BSA), Insulin and Transferrin (BIT) 9500 Serum Substitute (STEMCELL Technologies), 2 mM L-glutamine, 0.1 mg/mL penicillin/streptomycin supplemented with Flt3L (50 ng/mL), SCF (20 ng/mL) and TPO (25 ng/mL). CD34+ cells were thawed, counted and rested overnight in media at 1x106/mL, then recounted and seeded into niche models at 5x104/mL (0.1 mL/well of 96 well plates). For conditions containing gels, HSCs were seeded on top of the gel. Control wells were set up with media only (HSC only control). After 5 days cultured cells were harvested for further analysis. Experiments were repeated 3 times with HSCs from 3 patient donors.

Immunofluorescence and imaging analysis

For cell morphology and focal adhesion analysis, MSCs were seeded onto FN/FN+LM/LM coated TCP/pPEA surfaces for 3 h, followed by actin (Alexa Fluor™ 488 phalloidin) and anti-vinculin staining. For quantification of the nuclear-to-cytoplasmic YAP ratio, MSCs were seeded onto FN/FN+LM/LM coated pPEA surface for 3 hours, followed by actin (Alexa Fluor™ 488 phalloidin) and anti-YAP staining. To block integrin function, cells were incubated with the inhibitory antibodies for 30 minutes before being seeded onto the ECM-coated substrates. A control rat IgG isotype antibody (#I-4000, 1:20, Vector Laboratories) was also used. To phenotype the MSCs in the niche models, MSCs were cultured within the niche models for 14 days, followed by nestin/VCAM/OPN staining (see supplementary table II). Immunofluorescence staining was carried out according to our previous paper(25, 29). The samples were fixed with fixation buffer for 15 minutes at 37°C, followed by permeabilisation buffer [10.3 g of sucrose,0.292 g of NaCl, 0.06 g of MgCl2, 0.476 g of HEPES buffer, 0.5 mL of Triton X, in 100 mL of PBS (pH 7.2)] for 4 minutes at 4°C. Then samples were blocked with 1% BSA/PBS for 30 minutes and incubated with primary antibodies overnight at 4C. On the second day, the samples were washed 3x with 0.1% Tween-20/PBS and subsequently incubated with fluorophore-conjugated secondary antibody for 2 hours at room temperature. Before image acquisition, samples were incubated with DAPI/PBS buffer for 15 minutes. For quantification of cell number, cells were stained with Hoescht and nuclei counted. The images were acquired by EVOS M700 microscope (Thermo Fisher Scientific).

Vinculin images were used for FA analysis (54). Images were analysed with a threshold area of 0.5 µm2 and 0–0.99 circularity. Binarized images of FAs were measured, and several parameters were used for FA analysis, including FA number per cell, the FA length and FA area.

The mean integrated fluorescent intensity (MFI) was determined by ImageJ. For YAP translocation analysis, the total intensity of YAP was divided by the total intensity of YAP in the cytoplasm to obtain the nuclear-to-cytoplasmic ratio. At least 10 cells were analysed per donor per group.

Western blotting

MSCs were seeded on FN/FN+LM/LM coated pPEA surfaces for 1 hour, protein was extracted using lysis buffer containing protease and phosphatase inhibitors. Protein concentrations were measured using the BCA Protein Assay Kit. Heat-denatured proteins were electrophoresed by 4-12% Bis-Tris Gel and then transferred onto PVDF membranes. The membranes were blocked in 5% milk/PBS for 30 minutes at room temperature and incubated with primary antibodies (pFAK and MLC) overnight at 4°C. Samples were then incubated with the appropriate HRP-conjugated secondary antibody for 2 hours at room temperature. Membranes were read using enhanced chemiluminescence reagents (Thermo Fisher Scientific, #32132) and visualised using a detection system (Thermo Fisher Scientific MYECL imager). Band intensities were analysed using Image J software and the intensity fold change over the FN group was calculated for statistical analysis.

In-cell Western

To quantify ECM absorption onto pPEA surface, ECM-coated TCP/pPEA surfaces were washed 3x PBS and stained using FN or LM antibodies (see supplementary table II). For quantification of expression levels of nestin, VCAM, and OPN in MSCs on ECM+GFs surfaces, MSCs were cultured on the indicated surfaces for 14 days,. In-Cell Western was carried out according to previous work(25, 29). Samples were fixed with fixation buffer for 15 minutes at 37°C, followed by permeabilisation buffer for 4 minutes at 4°C. Then samples were blocked with 1% milk/PBS for 1.5 hours and incubated with primary antibody overnight. Then, samples were washed with the 0.1% Tween-20/PBS buffer x5 and incubated with infrared-labelled secondary antibodies for 2 hours, and washed x5. Samples were dried in the fridge overnight, and scanned using a LiCor Odyssey infrared imaging system. Samples were stained with CellTag 700 to detect cell number and used to normalise against the protein of interest.

Cytokine array

After 14 days of culture, supernatant from MSCs seeded on FN/FN+LM/LM coated pPEA surfaces was collected for the cytokine array. Membranes were blocked for 1 hour and incubated with samples of desired dilution overnight at 4°C. membranes were then washed and incubated with detection antibody for 1 hour. Membranes were then again washed, and incubated with streptavidin-HRP. Chemi Reagent Mix was added and spread evenly across the membranes for imaging. Odyssey infrared imaging system was used to quantify the signal intensity. Intensity fold changes over the FN group were calculated for analysis.

AlamarBlue assay

5x103 THP1 cells were seeded in 96 well plates and treated with AraC at serial concentrations (from 0 to 1000 uM). After 72-hour treatment, 10 µl of AlamarBlue resazurin was added to each well, followed by further incubation for 6 hours at 37°C, 5% CO2. A microplate reader (Clariostar, Germany) was used to detect light adsorbance at wavelengths of 570 nm and 600 nm. Non-treated THP1 was used as the control. The percentage of AlamarBlue reduction to control was calculated and the IC50 determined as the fifty-percent point intercepting the Dose-Response Curve to the concentration along the x-axis.

FN PEGylation

FN was covalently connected with 4-arm-poly (ethylene glycol) (PEG)-maleimide (PEG-MAL) molecules on its thiol groups. This process of PEGylation has been demonstrated in our previous work (39) and others’ work(55). FN was incubated within denaturing buffer with 8 M urea, 5 mM TCEP (Tris (2-carboxyethyl) phosphine) in PBS, followed by the incubation with 4-arm-PEG-maleimide solution at a molar ratio of 4:1 (PEG-MAL: FN) for 30 minutes. The reaction was stopped by adding 0.5 µl NaOH (1 M stock). Subsequently, the mixture was incubated with 14 mM of iodoacetamide for 2 hours at room temperature, followed by dialysis against PBS for 1 hour. Then, the protein solution was incubated with nine volumes of absolute ethanol at -20°C overnight. Then, the solution was centrifuged at 15000 g for 15 minutes at 4°C and washed with absolute ethanol twice. After the final wash, the protein precipitation was air dried for 30 minutes at room temperature and then dissolved in 8 M urea producing a protein concentration of 2.5 mg/mL, followed by dialysis again against PBS for 1 hour at room temperature. The molecular weight cut-off of the dialysis tube was 10 kDa. The final dialysed protein was then stored at -20°C until use.

Hydrogel preparation

PEG-MAL was diluted by PBS to 200 mg/ml. The crosslinkers, PEG-Dithiol (PEG-SH) or protease-degradable VPM peptide (GCRDVPMSMRGGDRCG, Genscript), were diluted in PBS to 50 mg/ml. Then, PEG-4MAL and crosslinkers were mixed at a molar ratio of 1:1 (maleimide: thiol) to crosslink. Crosslinkers used were mixtures of PEG-SH and VPM at a molar ratio of 1:3. The final concentration of PEG-4MAL is 3% w/v. Following addition of crosslinkers, samples were incubated for 30 minutes at 37°C to for gelation. For FN-PEG hydrogel, PEGylated FN was added at a final concentration of 0.5 mg/ml. For hydrogels with labelled GFs, the labelled GFs were mixed into the hydrogel solution with a final concentration of 5 μg/mL prior to gelation.

Nanoindentation measurement and data analysis

Nanoindentation measurements were performed using a nanoindentation device (Chiaro, Optics11) mounted on top of an inverted phase-contrast microscope (Evos XL Core, Thermo Fisher Scientific) adapting a previously reported approach (56, 57). Measurements were performed at room temperature in culture media unless stated otherwise. For each hydrogel sample, single indentation curves (n > 22) were acquired at a speed of 2 µm/s over a vertical range of 10 µm, changing the (x, y) point at every indentation. The selected cantilever had a stiffness of 0.032 N/m and held a spherical tip of 8.0 µm radius. For cell stiffness measurements, cells were cultured on FN or LM pPEA substrates for 3 hours to allow for cell adhesion to the surfaces. For each cell, indentation maps (400 µm2, n > 25) were also acquired at a speed of 2 µm/s over a vertical range of 10 µm, changing the (x, y) point at every indentation. A minimum of three maps per replicate were measured. The selected cantilever had a stiffness of 0.36 N/m and held a spherical tip of 22 µm radius. All collected curves were pre-processed and analysed with a custom-made graphical user interface, the analysis and all software used are described in detail in (57).

GF labelling

GFs were conjugated with NHS-AlexaFluor-488 dye according to the manufacturer’s instructions. In brief, recombinant GF was dissolved with 0.05 M sodium borate buffer at pH 8.5 to 100 ug/mL. NHS-AlexaFluor-488 dye was mixed with the GF solution and incubated for 1 hour at room temperature, followed by dialysing against PBS for 4 hours. The molecular weight cut-off of the dialysis tube was 3.5 kDa. The final dialysed labelled GF was stored at -20°C until use.

GF absorption experiment

Prepared hydrogels were immersed in 10 mM L-cysteine solution for 2 hours to ensure no free maleimide groups. Then, samples were incubated within PBS overnight to swell. Then, hydrogels were immersed in solutions containing different labelled GFs at 5 μg/mL. Once immersed, samples were incubated overnight at 37°C protected from light. The supernatant was taken and read using a plate reader (Ex/Em 493/518 nm). All conditions were prepared in triplicate. The initial solutions were also measured and used as a standard curve to be able to correlate fluorescence intensity with the concentration of specific GFs. The percentage of GF adsorbed by each hydrogel was calculated by the following equation:

GFadsorb %=minput-msupernatantminput×100%

GF retention experiment

Hydrogels with labelled GFs were immersed in PBS and incubated at 37°C protected from light. At each time point, all the supernatant was collected and refreshed with PBS. The GF concentration in the supernatant was determined by using a plate reader (Ex/Em 493/518 nm). A standard curve using the specific GF was prepared and empty (not loaded with GF) hydrogels were used as controls. All conditions were prepared in triplicate. The percentage of GF retained from each hydrogel was calculated by the following equation:

GFretain %=1-msupernatantminput × 100%

Flow cytometry

Cells were harvested from niche systems using collagenase D (Sigma, 2.5 mg/mL in PBS) and TripLE™ (Thermo Fisher Scientific). Cells were passed through a 70 µm filter and stained with the antibodies detailed in Table S2 for 30-45 minutes. Cells were washed twice in flow buffer (PBS with 2 mM EDTA and 0.5% BSA) and analysed using an Attune flow cytometer (Thermo Fisher Scientific). Unstained cells or isotype controls were used as a negative control. To phenotype HSCs, the gating strategy is shown in Fig. S9A. For LTC-IC assays, samples were sorted using BD FACSAria Cell sorter (BD Biosciences). The gating strategy is shown in Fig. S10. For mtROS staining, cells were stained with MitoSOX probe for 10 minutes at 37°C, and then washed with HBSS buffer 3 times followed by flow cytometry analysis. The gating strategy is shown in Fig. S13A. For PI staining, cells were stained with PI dye for 15 minutes at room temperature, and then samples were added with 400 μl flow buffer. Fixed THP1 were used as a positive control. For Zombie violet staining, cells were stained with Zombie Violet stain at 1:500 dilution on ice for 15 minutes (Biolgened, #423113). 1ml of flow buffer was added to deactivate the leftover dye and the sample viability was assessed by flow cytometry. Flow cytometry files were analysed using FlowJo software (version 10.5.3, FlowJo LLC, USA) or FCS Express v7.

LTC-IC assay

LTC-IC assays were carried out on sorted Lineage- CD34+ cells harvested from niche systems after 5 days of culture. Engineered stromal fibroblast feeder layers were first established. M2-10B4 (overexpressing IL-3 and G-CSF) and Sl/Sl (overexpressing IL-3 and SCF) (both gifted by STEMCELL Technologies) were passaged at ~90% confluence. Cells were grown for 2 weeks prior to use in selection agents to select stromal cells expressing long-term cell maintenance factors (M2-10B4, 0.4mg/mL G418 and 0.06mg/mL Hygromycin B; Sl/Sl, 0.8 mg/mL G418 and 0.15 mg/mL Hygromycin B). Cells at ~80% confluence were irradiated with 8000 cGy, and trypsinised. M2-10B4 and Sl/Sl were mixed at 1:1 ratio at a final concentration of 1.5x106/mL. Cells were then seeded into collagen-coated 24 well plates (Thermo Fischer Scientific) for 24 hours before adding sorted cells. The culture was then maintained for 6 weeks in MyeloCult™ supplemented with 1x10-6 M hydrocortisone (StemCell Technologies), with half media exchanges twice weekly.

CFU Assay

Cells were harvested from LTC-IC assays after 6 weeks and resuspended in MethoCult™. 3x105 cells for each condition were seeded in duplicate in 35 mm dishes and incubated at 37°C in 5% CO2. After 14 days, total colonies were counted and phenotyped using a light microscope.

RNA seq and data analysis

For RNA seq analysis of MSCs, MSCs were harvested from 3D niche model, healthy niche model and AML niche model after 3 days of co-culture (Fig. 5A). Sequencing libraries were then prepared from total RNA using the Illumina TruSeq Stranded mRNA Sample Preparation Kit. Libraries were sequenced in 75 base, paired-end mode on the Illumina NextSeq 500 platform. Raw sequence reads were trimmed for contaminating sequence adapters and poor-quality bases, followed by “pseudo aligned” to the transcriptome using the program Kallisto (58). Human ENSEMBL gene ID to gene symbol conversion was performed in BioTools (https://www.biotools.fr). The DEseq2 BioConductor package was used for outlier detection, normalisation and differential gene expression analyses (59). Genes passing a threshold of adjusted p-value <0.05 and |log2Foldchange| > 1 were considered as differentially expressed genes (DEGs). Heatmaps of DEGs, and principal component analysis (PCA) plots were generated in R. The differentially expressed genes along with their respective log2fold change were inputted into the PathfindR package, followed by Kyoto Encyclopedia of Genes and Genomes (KEGG) and Gene Ontology (GO) enrichment analysis(60). Only pathways with FDR < = 0.05 were considered as differentially enriched. The differentially expressed genes involved in every pathway were extracted and their z-scores were presented as heatmaps.

Data folder: RNAseq

sample_sheet.xlsx indicate the sample ID and the group setting for the experiment. The file “raw data for KEGG-HSC_vs_LSC_selected” is the raw data for fig. 5I in csv. format. The file “z_score” is the raw data for fig. 5H in csv. format. The file “EM” is the raw data for fig. S15 in csv. format.

Metabolomics and data analysis

MSCs were harvested from niche models after 3 days of co-culture (Fig. 5A). Whole-cell metabolomic analysis was performed on cell lysates isolated from MSCs cultured in niche systems. Substrates were washed with ice-cold PBS, and cells lysed in extraction buffer (PBS/methanol/chloroform at 1:3:1 ratio) for 60 minutes at 4°C with constant agitation. Lysates were then transferred to cold Eppendorf tubes and centrifuged at 13000 g at 4°C for 5 minutes to remove debris and stored at -80°C. Cleared extracts were used for hydrophilic interaction LC/MS analysis (UltiMate 3000 RSLC, Thermo Fisher Scientific), with a 159 x 4.6 mm ZIC- pHILIC column running at 300 µl/min and Orbitrap Exactive (Thermo Fisher Scientific). A standard pipeline, consisting of XCMS (peak picking), MzMatch (filtering and grouping) and IDEOM (further filtering, post-processing and identification) was used to process the raw mass spectrometry data. Identified core metabolites were validated against a panel of unambiguous standards by mass and predicted retention time. Further, putative identifications were generated by mass and predicted retention times. Heatmaps of selected metabolites, PCA plots, and enrichment analysis were generated using MetaboAnalyst software (version 4.0).

# Data folders: Metabolomics

sample_sheet.xlsx indicate the sample ID and the group setting for the experiment.

Data folder: heatmap_21_dpi300 Fig5j, pca_score2d_0_dpi300 Fig. S16, Folder raw_data contains MzXML files for Fig 5j Fig 5k and Fig. S16. Stats_files_for_figure_6a files is original data for Fig 6a in .xlsx format.

Immunohistochemistry

A total of 24 paraffin-embedded bone marrow samples at Peking Union Medical College Hospital, Beijing, China, were included in our current study. Among them, 12 patients were diagnosed with AML by experienced pathologists, termed AML donors. The other 12 patients’ bone marrow samples were collected because of accident fractures, termed healthy donors. The paraffin-embedded samples were cut into 4-μm-thick sections, followed by staining using Nestin antibody (ab22035; 1:2000; Abcam). Afterwards, the slides were incubated with secondary antibody at room temperature for one hour and stained with DAB substrate. All specimens were stained using an automatic IHC instrument (BOND-III; Leica Biosystems), according to the manufacturer’s instructions.

For immunohistochemistry evaluation, all slides were scanned using a Hamamatsu S60 whole slide scanner (Hamamatsu Photonics), and the digitally scanned images were viewed and evaluated using NanoZoomer Digital Pathology view2 software version 2.7.25 (Hamamatsu Photonics). The nestin-postive area was quantified by IHC Profiler plug-in in ImageJ software (61).

Statistical analysis and reproducibility

Data were presented as means ± standard deviation (s.d.). The unpaired Student’s t-test was applied for two-group comparisons except for fig. 4b, fig. 5b-c, fig 6d, fig. 7d-f, supplementary fig. 8a and 8b (paired Student’s t-test). The ordinary two-way ANOVA with Tukey’s multiple comparisons test was applied for multi-group comparisons, except for fig. 3E and 3F (Ordinary two-way ANOVA with Dunnett's multiple comparisons test). GraphPad Prism 8TM software was used for statistical analysis. All the experiments were repeated with 3-4 material replicates for 3 independent experiments with different donor cells, except for cytokine array (1 independent donor with technical duplicates) and LTC-IC assay (2 independent donors with >3 technical repeats).

# 5. The date the dataset can be made publicly would be once the paper is out on publication

# 6. No restrictions

# 7. No preference

# 8. DOI number https://doi.org/10.5525/gla.researchdata.1676